## Acid Method Calculator
| Calculated slope for full standard curve |  |  |  | 0.0065143
| Average Acidification Ratio for full standard curve |  |  |  | 2
[11 empty] | Full Curve | Full Curve
|  | Conc. Of | Raw | Raw | Blank Corrected | Blank Corrected | Acidification | Dilution | Volume | Volume | calculated Chl. | calculated Pheo.
|  | Std. (ug/L) | Fb (RFU) | Fa (RFU) | Fb (RFU) | Fa (RFU) | Ratio | Factor | Filtered (ml) | Extracted (ml) | Conc. (ug/L) | Conc. (ug/L)
| BLANK | 0 | 0 | 0 | 0 | 0 | - | - | - | - | - | -
| Std. 1 | 10 | 2500 | 1250 | 2500 | 1250 | 2 | 1 | 1 | 1 | 16.2857 | 0
| Std. 2 | 20 | 5000 | 2500 | 5000 | 2500 | 2 | 1 | 1 | 1 | 32.5714 | 0
| Std. 3 | 40 | 7500 | 3750 | 7500 | 3750 | 2 | 1 | 1 | 1 | 48.8571 | 0
| Std. 4 | 60 | 10000 | 5000 | 10000 | 5000 | 2 | 1 | 1 | 1 | 65.1429 | 0
| Std. 5 | 80 | 12500 | 6250 | 12500 | 6250 | 2 | 1 | 1 | 1 | 81.4286 | 0 | Ave Chl. | Ave Pheo.
[13 empty] | Conc. (ug/L) | Conc. (ug/L)
Sample 1 (A) |  | - | 2500 | 1250 | 2500 | 1250 | 2 | 1 | 1 | 1 | 16.2857 | 0
Sample 1 (B) |  | - | 2500 | 1250 | 2500 | 1250 | 2 | 1 | 1 | 1 | 16.2857 | 0 | 16.2857 | 0
Sample 2 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 2 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Sample 3 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 3 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Sample 4 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 4 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Sample 5 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 5 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Sample 6 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 6 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Sample 7 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 7 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Sample 8 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 8 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Sample 9 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 9 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Sample 10 (A) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE!
Sample 10 (B) |  | - | - | - | #VALUE! | #VALUE! | #VALUE! | 1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
NOTES:
Only enter values in blue cells
Range of Acceptable Acidification Ratios (1.8 - 2.2). If any of your ratios are out of this range, your chlorophyll standard
is either too low in concentration to be used for calculating an Acid Ratio or the Chlorophyll in solution has been degraded.
The spreadsheet is set up for replicates, but if you won't be doing replicates simply enter a zero for the replicate sample